## Standard Data
| Major Rock Forming Major Elements | [9 empty] | Trace Elements
STANDARD | Wt% | [8 empty] | PPM
| Si | Al | Ti | Fe(tot)/Fe2O3 | Mg | Ca | K | Na | P | Ag | As | Ba | Bi | Cd | Ce | Co | Cr | Cs | Cu | Dy | Er | Eu | F | Ga | Gd | Hf | Ho | La | Li | Lu | Mn | Mo | Nb | Nd | Ni | Pb | Pr | Rb | Sb | S | Sc | Se | Sm | Sn | Sr | Ta | Tb | Te | Th | Tl | Tm | U | V | W | Y | Yb | Zn | Zr
BCR-2 | Columbia River Basalt
Element wt% | 25.3 | 7.14 | 1.35 | 9.65 | 2.16 | 5.09 | 1.49 | 2.34 | 0.15 |  |  | 683 |  |  | 53 | 37 | 18 | 1.1 | 19 |  |  | 2 | 440 | 23 | 6.8 | 4.8 | 1.33 | 25 | 9 | 0.51 | 1520 | 2.48 |  | 28 |  | 11 | 6.8 | 48 |  |  | 33 |  | 6.7 |  | 346 |  | 1.07 |  | 6.2 |  | 0.54 | 1.69 | 416 |  | 37 | 3.5 | 127 | 188
Oxide wt % | 54.1 | 13.5 | 2.26 | 13.8 | Mg: 3.59; Ca: 7.12; K: 1.79; Na: 3.16; P: 0.35
GSP-2 | Granodiorite
Element wt% | 31.1 | 7.88 | 0.4 | 3.43 | 0.58 | 1.5 | 4.48 | 2.06 | 0.13 |  |  | 1340 |  |  | 410 | 7.3 | 20 | 1.2 | 43 | 6.1 | 2.2 | 2.3 | 3000 | 22 | 12 | 14 | 1 | 180 | 36 | 0.23 | 320 | 2.1 | 27 | 200 | 17 | 42 | 51 | 245 |  |  | 6.3 |  | 27 |  | 240 |  |  |  | 105 | 1.1 | 0.29 | 2.4 | 52 |  | 28 | 1.6 | 120 | 550
Oxide wt % | 66.6 | 14.9 | 0.66 | 4.9 | Mg: 0.96; Ca: 2.1; K: 5.38; Na: 2.78; P: 0.29
AGV-2 | Andesite
Element wt% | 27.7 | 8.95 | 0.63 | 4.68 | 1.08 | 3.72 | 2.39 | 3.11 | 0.21 |  |  | 1140 |  |  | 68 | 16 | 17 | 1.16 | 53 | 3.6 | 1.79 | 1.54 | 440 | 20 | 4.69 | 5.08 | 0.71 | 38 | 11 | 0.25 | 770 |  | 15 | 30 | 19 | 13 | 8.3 | 68.6 | 0.6 |  | 13 |  | 5.7 | 2.34 | 658 | 0.89 | 0.64 |  | 6.1 | 0.27 | 0.26 | 1.88 | 120 |  | 20 | 1.6 | 86 | 230
Oxide wt % | 59.3 | 16.91 | 1.05 | 6.69 | Mg: 1.79; Ca: 5.2; K: 2.88; Na: 4.19; P: 0.48
SBC-1 | Shale
Element wt% | [10 empty] | 25.7 | 788 | 0.7 | 0.4 | 108 | 22.7 | 109 | 8.2 | 31 | 7.1 | 3.8 | 1.98 |  | 27 | 8.5 | 3.7 | 1.4 | 52.5 | 163 | 0.54 | 1500 | 2.4 | 15.3 | 49.2 | 82.8 | 35 | 12.6 | 147 | 1.01 | 7150 | 20 |  | 9.6 | 3.3 | 178 | 1.1 | 1.2 |  | 15.8 | 0.89 | 0.56 | 5.76 | 220 | 1.6 | 36.5 | 3.64 | 186 | 134
Oxide wt % | 47.64 | 21 | 0.855 | 9.71 | Mg: 2.6; Ca: 2.95; K: 3.45; Na: 0.15; P: 0.37
NOD-P-1 | Mn Nodule
Element wt% |  |  |  |  | PPM Ba: 3350; PPM Ce: 290; PPM Co: 2240; PPM Cu: 11500; PPM Dy: 27; PPM Er: 12; PPM Eu: 7.5; PPM Gd: 28; PPM La: 104; PPM Lu: 1.8; PPM Mn: 376000; PPM Mo: 760; PPM Nd: 120; PPM Ni: 13400; PPM Pb: 560; PPM Sm: 30; PPM Sr: 680; PPM V: 570; PPM Yb: 13; PPM Zn: 1600
Oxide wt % | 13.9 | 4.8 | 0.5 | 8.3 | Mg: 3.3; Ca: 3.1; K: 1.2; Na: 2.2; P: 0.46
SDC-1 | Mica Schist
Element wt% | 30.75 | 8.36 | 0.61 | 4.42 | 1.02 | 1 | 2.72 | n.d. | 0.07 |  | 0.22 | 630 |  |  | 93 | 18 | 64 | 4 | 30 | 6.7 | 4.1 | 1.7 | 600 | 21 | 7 | 8.3 | 1.5 | 42 |  |  | 880 |  | 21 | 40 | 38 | 25 |  | 127 |  |  | 17 |  | 8.2 | 3 | 180 | 1.2 | 1.2 |  | 12 | 0.7 | 0.65 | 3.1 | 102 | 0.8 |  | 4 | 103 | 290
Oxide wt % | 65.8 | 15.8 | 1.01 | 6.32 | Mg: 1.69; Ca: 1.4; K: 3.28; Na: 2.05; P: 0.16
SARM USGS
Element wt% | 33.8 | 6.3 | 0.38 | 2.99 | 0.5 | 0.61 | 2.94 | 1.14 | 0.07 | 3.64 | 38.8 | 801 | 1.94 | 5.27 | 122 | 10.7 | 79.7 |  | 331 |  |  |  |  | 17 |  |  |  | 57.4 |  |  | 5220 | 13.1 | 29.9 |  | 41.5 | 982 |  | 146 | 6 |  | 7.83 | 0.39 |  | 2.76 | 151 |  |  | 0.96 | 17.2 | 2.7 |  | 3.57 | 67.2 | 9.78 | 28 |  | 930
Oxide wt % | 72.2 | 11.9 | 0.16 | 4.31 | Mg: 0.83; Ca: 0.85; K: 3.54; Na: 1.53; P: 0.16
Till-4
Element wt% |  |  | 0.484 | 3.97 |  |  |  |  | 0.088 |  | 111 | 395 | 40 |  | 78 | 8 | 53 | 12 | 237 |  | 3.2 |  |  |  |  | 10 |  | 41 | 30 | 0.5 | 490 | 16 | 15 | 30 | 17 | 50 |  | 161 | 1 | 800 | 10 |  | 6.1 |  | 109 | 1.6 | 1.1 |  | 17.4 |  |  | 5 | 67 | 204 | 33 | 3.4 | 70 | 385
NIST 2780
Element wt% | 31 | 8.87 | 0.699 | 2.784 | 0.533 | 0.195 | 3.38 | 0.2212 | 0.0427 |  | 48.8 | 993 |  | 12.1 | 64 | 2.2 | 44 | 13 | 216 |  |  |  |  | 26 |  | 4.34 | 0.84 | 38 |  |  | 462 | 11 | 18 | 28 | 12 | 5770 |  | 175 | 160 | 12630 | 23 | 5 |  |  | 217 |  | 0.58 | 5 | 12 | 5 | 0.4 | 4 | 268 | 24 |  |  | 2570 | 176
Element wt%
NIST 2709A | 30.3 | 7.37 | 3.36 | 3.36 | Mg: 1.46; Ca: 1.91; K: 2.11; Na: 1.22; P: 0.0688; PPM As: 10.5; PPM Ba: 979; PPM Cd: 0.371; PPM Ce: 42; PPM Co: 12.8; PPM Cr: 130; PPM Cs: 5; PPM Cu: 33.9; PPM Eu: 0.83; PPM Gd: 3; PPM La: 21.7; PPM Mn: 529; PPM Ni: 85; PPM Pb: 17.3; PPM Rb: 99; PPM Sb: 1.55; PPM Sc: 11.1; PPM Sr: 239; PPM Th: 10.9; PPM Tl: 0.58; PPM U: 3.15; PPM V: 110; PPM Zn: 103; PPM Zr: 195
Element wt%
NIST RCRA |  |  |  |  | PPM Ag: 500; PPM As: 500; PPM Ba: 630; PPM Cd: 500; PPM Cr: 500; PPM Pb: 500; PPM Se: 500
Element wt%
Major elements are listed as Wt % Oxide and/or Wt% Element; Trace elements are listed as ppm
Columns in red are light elements that will not be detected by EDS on the pXRF
To make a new elemental calibration curve, select the appropriate standards for that element, and use standards with a good spread of high to low values to get the best fit curve over the whole compositional range
When plotting results, check the expected values listed above against the Certificate of Analyses, on file with ICAL staff; typos may have been entered.